## Substations
Summary
Month | Number of Stations Peaking | Percent
January | 41 | 31.06%
February | 43 | 32.58%
March | 9 | 6.818%
April | 4 | 3.03%
May | 2 | 1.515%
June | 0 | 0%
July | 3 | 2.273%
August | 4 | 3.03%
September | 6 | 4.545%
October | 0 | 0%
November | 3 | 2.273%
December | 13 | 9.848%
Not Known | 4 | 3.03%
* Generator Transformers are not included
* Dedicated customer transformers are not included.
* NK = Not Known
(a) Station Name | (e) Peak Load | Unit | (f) Peak Occurrence:
Substation 1 | 8.2 | MVA | 2013-01-01
Substation 2 | 5.9046 | MVA | 2013-01-24 19:45
Substation 3 | 7.2 | MVA | 2013-01-01
Substation 4 | 8.3 | MVA | 2013-01-01
Substation 5 | 5.616 | MVA | 2013-01-01
Substation 6 | 40.7699 | MW | 2013-01-02 17:30
Substation 7 | 40.6605 | MW | 2013-01-23 18:14
Substation 8 | 14.8248 | MVA | 2013-01-02 18:00
Substation 9 | 19.1627 | MVA | 2013-01-23 17:35
Substation 10 | 14.3625 | MVA | 2013-01-23 17:31
Substation 11 | 17.28 | MVA | 2013-01-01
Substation 12 | 27.2593 | MVA | 2013-01-06 16:30
Substation 13 | 69.8905 | MVA | 2013-01-23 18:00
Substation 14 | 288.7152 | MW | 2013-01-23 12:16
Substation 15 | 78.3952 | MVA | 2013-01-23 18:15
Substation 16 | 29.2435 | MVA | 2013-01-02 17:45
Substation 17 | 33.0075 | MW | 2013-01-24 08:00
Substation 18 | 108.3342 | MVA | 2013-01-24 18:30
Substation 19 | 7 | MVA | 2013-01-01
Substation 20 | 49.2864 | MVA | 2013-01-23 17:30
Substation 21 | 6.6432 | MVA | 2013-01-01
Substation 22 | 129.8094 | MVA | 2013-01-24 19:00
Substation 23 | 11.808 | MVA | 2013-01-01
Substation 24 | 6.4 | MVA | 2013-01-01
Substation 25 | 35.3 | MVA | Jan-13
Substation 26 | 10.08 | MVA | 2013-01-01
Substation 27 | 5.1295 |  | 2013-01-28 18:00
Substation 28 | 6.6312 | MVA | 2013-01-01
Substation 29 | 6.1 | MVA | 2013-01-01
Substation 30 | 7.872 | MVA | 2013-01-01
Substation 31 | 8.352 | MVA | 2013-01-01
Substation 32 | 2.52 | MVA | 2013-01-01
Substation 33 | 20.95 | MVA | 2013-01-01
Substation 34 | 3.16 | MVA | 2013-01-01
Substation 35 | 18.4778 | MW | 2013-01-24 17:38
Substation 36 | 91.92 | MW | 2013-01-06 04:58
Substation 37 | 166.9249 | MVA | 2013-01-24 17:30
Substation 38 | 343 | MW | 2012-01-12 07:00
Substation 39 | 25 | MVA | 2013-01-13
Substation 40 | 147.9074 | MVA | 2013-01-02 13:45
Substation 41 | 3.5613 |  | 2013-01-31 22:08
Substation 42 | 62.2982 | MVA | 2013-02-17 18:25
Substation 43 | 1.4016 | MVA | 2013-02-01
Substation 44 | 5.3 | MVA | 2013-02-01
Substation 45 | 20 | MW | 2013-02-07 21:42
Substation 46 | 74.186 | MVA | 2013-02-28 10:00
Substation 47 | 20.16 | MVA | 2013-02-01
Substation 48 | 16.8752 | MVA | 2013-02-08 07:30
Substation 49 | 5.76 | MVA | 2013-02-01
Substation 50 | 7.5072 | MVA | 2013-02-01
Substation 51 | 104.4094 | MVA | 2013-02-08 18:00
Substation 52 | 24.425 | MW | 2013-02-08 09:14
Substation 53 | 9.216 | MVA | 2013-02-01
Substation 54 | 18.0768 | MVA | 2013-02-01
Substation 55 | 25.0086 | MVA | 2013-02-08 07:00
Substation 56 | 60.9 | MW | 2013-02-08 07:00
Substation 57 | 32.752 | MW | 2013-02-04 17:36
Substation 58 | 9.4464 | MVA | 2013-02-01
Substation 59 | 5.7168 | MVA | 2013-02-01
Substation 60 | 3.116 | MVA | 2013-02-01
Substation 61 | 28.032 | MVA | 2013-02-01
Substation 62 | 4.736 | MVA | 2013-02-01
Substation 63 | 45.4 | MVA | 2013-02-01
Substation 64 | 9.072 | MVA | 2013-02-01
Substation 65 | 7.488 | MVA | 2013-02-01
Substation 66 | 3.3 | MVA | 2013-02-01
Substation 67 | 9.9 | MVA | 2013-02-01
Substation 68 | 10.08 | MVA | 2013-02-01
Substation 69 | 3.2 | MVA | 2013-02-01
Substation 70 | 3.6 | MVA | 2013-02-01
Substation 71 | 3 | MVA | 2013-02-01
Substation 72 | 4.1 | MVA | 2013-02-01
Substation 73 | 2.59 | MVA | 2013-02-01
Substation 74 | 30.97 | MVA | 2013-02-01
Substation 75 | 3.2704 | MVA | 2013-02-01
Substation 76 | 8.9 | MVA | 2013-02-13
Substation 77 | 0.9 | MVA | 2013-02-13
Substation 78 | 14.9 | MVA | 2013-02-01
Substation 79 | 27.8592 | MVA | 2013-02-01
Substation 80 | 50.2862 | MVA | 2013-02-08 07:15
Substation 81 | 500.3394 | MVA | 2013-02-21 11:15
Substation 82 | 238.1945 | MVA | 2013-02-07 16:45
Substation 83 | 83.5273 | MVA | 2013-02-08 11:00
Substation 84 | 68.3 | MVA | 2013-02-08 10:45
Substation 85 | 183.3141 | MVA | 2013-03-26 08:30
Substation 86 | 8.832 | MW | 2013-03-01
Substation 87 | 10.8864 | MVA | 2013-03-01
Substation 88 | 10.56 | MVA | 2013-03-01
Substation 89 | 31.8 | MVA | 2013-03-01
Substation 90 | 3.1356 | MVA | 2013-03-01
Substation 91 | 7.3728 | MVA | 2013-03-01
Substation 92 | 5.68 | MVA | 2013-03-01
Substation 93 | 183.3141 | MVA | 2013-03-26 08:30
Substation 94 | 7.3776 | MVA | 2013-04-01
Substation 95 | 18 | MVA | 2013-04-01
Substation 96 | 48.4612 | MW | 2013-04-16 20:31
Substation 97 | 31.9104 | MVA | 2013-04-05 13:45
Substation 98 | 16.7232 | MVA | 2013-05-01
Substation 99 | 10.7712 | MVA | 2013-05-01
Substation 100 | 11.06 | MVA | 2012-07-16 13:00
Substation 101 | 3.32 | MVA | 2013-07-01
Substation 102 | 111.8438 | MVA | 2012-07-15 08:30
Substation 103 | 35.7323 | MVA | 2012-08-14 13:48
Substation 104 | 29.9 | MVA | 2012-08-01
Substation 105 | 25.661 | MW | 2012-08-20 16:55
Substation 106 | 0.684 | MVA | 2012-08-01
Substation 107 | 7.6 | MVA | 2013-09-12
Substation 108 | 13.9 | MVA | 2012-09-01
Substation 109 | 4.27 | MVA | 2012-09-01
Substation 110 | 7.7852 | MW | 2012-09-11 02:12
Substation 111 | 14.5353 | MVA | 2012-09-12 10:30
Substation 112 | 8.832 | MVA | 2012-09-01
Substation 113 | 62.784 | MW | 2012-11-19 17:25
Substation 114 | 13.66 | MVA | 2012-11-01
Substation 115 | 67.4862 | MVA | 2012-11-27 19:30
Substation 116 | 2.78 | MVA | 2012-12-01
Substation 117 | 12.4 | MVA | 2012-12-01
Substation 118 | 27.42 | MVA | 2012-12-01
Substation 119 | 17.184 | MVA | 2012-12-01
Substation 120 | 15.3 | MVA | 2012-12-01
Substation 121 | 12.1536 | MVA | 2012-12-01
Substation 122 | 7.8912 | MVA | 2012-12-01
Substation 123 | 9.7104 | MVA | 2012-12-01
Substation 124 | 6.8 | MVA | 2012-12-01
Substation 125 | 9.792 | MVA | 2012-12-01
Substation 126 | 503.3494 | MVA | 2012-12-18 16:00
Substation 127 | 27.5446 | MVA | 2011-12-21 06:45
Substation 128 | 22.2824 | MW | 2012-12-31 02:56
Substation 129 | NK |  | NK
Substation 130 | NK |  | NK
Substation 131 | NK |  | NK
Substation 132 | 7.9 |  | NK
5279.1594